## Slide 1
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
Outline:
Optolink’s production capacities & premises
IMU400 c-SWaP & mechanical properties
Sensors accuracy and specs
Test results - gyrocompassing & static
Test results – navigation
Conclusion

## Slide 2
1. Optolink’s production capacities & premises
Arzamas branch
Production of special optical fibers (PM, spun, etc.) and components.
Saratov branch
Development and production of fiber-optic gyroscopes and sensors
Riga, Podraga 2
Riga, iela Plata 12B
Headquarters Moscow, Zelenograd
Development and production of integrated optical circuits on LiNbO3, fiber-optic sensors and inertial navigation systems.
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.

## Slide 3
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
2. IMU400 c-SWaP & mechanical properties
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
80×95×62 mm, 0.7 kg, 0.5 l, ≤7 W

## Slide 4
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
2. IMU400 c-SWaP & mechanical properties
Spatial displacement of 3 physical MEMS-accelerometer triads inside the IMU400

## Slide 5
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
3. Sensors accuracy and specs
IMU400 Allan Variance plot in Optolink’s FOG family

## Slide 6
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
3. Sensors accuracy and specs

## Slide 7
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
IMU400 FOG and ACC channels Allan variance plot
IMU400 Gyroscopes & Accelerometers bias stability plots in temperature range
3. Sensors accuracy and specs

## Slide 8
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
4. Test results - gyrocompassing
At 56° N Lat.

## Slide 9
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
4. Test results – static – 5Nm at 8h

## Slide 10
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
5. Test results - navigation
IMU400 navigation performance in compensated inertial mode (ZUPT) : ~30 km (~1km CPE error)

## Slide 11
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
5. Test results - navigation
IMU400 navigation performance in compensated inertial mode (ZUPT) : ~110 km (~10km CPE error)

## Slide 12
Ultra-compact navigation-grade Inertial Measurement Unit IMU400
Fiber Optical Solution, Riga, Latvia
RPC LLC, Moscow, Russia
Yu.N. Korkishko, V.A. Fedorov, V.E. Prilutskiy, V.G. Ponomarev, et. al.
6. Conclusion
Demonstrated performance allows to assess IMU400 as navigation or near-navigation grade IMU with unique combination of performance / cost / SWaP characteristics.